Technical Specification for Y Model MPO/MTP Trunk Cable (MPO-2*MPO Fanout Trunk Patch Cord)

## 1. Overview

This technical specification defines the requirements, characteristics, installation guidelines, and performance criteria for the Y Model MPO/MTP Trunk Cable, also referred to as the MPO-2*MPO Fanout Trunk Patch Cord. It serves as a comprehensive reference for the design, application, and deployment of the product in relevant optical communication systems.

## 2. Applications

The Y Model MPO/MTP Trunk Cable (MPO-2*MPO Fanout Trunk Patch Cord) is suitable for use in optical communication networks where high-density signal transmission and flexible connectivity are required. Typical application scenarios include, but are not limited to:

- Data center backbone connections

- High-speed local area networks (LANs)

- Telecommunication transmission systems

- Optical distribution frames (ODFs)

- Fiber-to-the-building (FTTB) and fiber-to-the-home (FTTH) networks

- Other high-performance optical communication environments

## 3. Features

- Enables efficient fanout of optical signals, providing a reliable connection between a single MPO/MTP interface and two MPO interfaces.

- Designed to support high-speed data transmission, complying with relevant industry standards for bandwidth and signal integrity.

- Features robust construction to ensure mechanical durability, resistance to environmental factors (such as temperature variations, moisture, and dust), and long-term stable operation.

- Optimized fiber routing and management to minimize signal loss, crosstalk, and other performance-degrading factors.

- Easy to install and maintain, with compatible connectors that ensure secure and precise mating.

## 4. Specifications

### 4.1 Optical Performance

- Insertion Loss: Maximum insertion loss shall not exceed [X] dB (typical [Y] dB) at the operating wavelength range.

- Return Loss: Minimum return loss shall be [Z] dB or higher across the operating wavelength range.

- Operating Wavelength Range: [Specify the applicable wavelength range, e.g., 850 nm, 1310 nm, 1550 nm, or a combination]

- Polarization Mode Dispersion (PMD): Maximum PMD shall be [A] ps/km or less.

### 4.2 Mechanical Specifications

- Cable Diameter: [Specify the outer diameter of the cable, e.g., X mm]

- Cable Tensile Strength: Minimum tensile strength shall be [B] N (for short-term installation) and [C] N (for long-term operation).

- Bend Radius: Minimum bend radius shall be [D] mm (static) and [E] mm (dynamic).

- Connector Type: MPO/MTP connectors (male/female as specified) with compatible keying and polarity options.

- Connector Durability: Minimum number of mating cycles shall be [F] times without significant degradation in performance.

### 4.3 Environmental Specifications

- Operating Temperature Range: [-G] °C to [H] °C

- Storage Temperature Range: [-I] °C to [J] °C

- Relative Humidity: [K]% to [L]% (non-condensing)

- Resistance to Chemicals: Compatible with common environmental chemicals and substances as per industry standards.

### 4.4 Fiber Specifications

- Fiber Type: [Specify the fiber type, e.g., single-mode fiber (SMF), multi-mode fiber (MMF) such as OM3, OM4, etc.]

- Fiber Count: [Specify the number of fibers in the cable, e.g., 12 fibers, 24 fibers, etc.]

- Fiber Cladding Diameter: [M] μm

- Fiber Core Diameter: [N] μm (for single-mode) or [O] μm (for multi-mode)

- Numerical Aperture (NA): [P] (typical value)

## 5. Assembly Requirements

- All components (fibers, connectors, cable jacket, etc.) shall be sourced from qualified suppliers and meet the specified material and performance requirements.

- The assembly process shall be carried out in a cleanroom environment to prevent contamination of fibers and connectors, ensuring optimal optical performance.

- Fiber splicing (if applicable) shall be performed with precision, with splice loss not exceeding [Q] dB per splice.

- Connectors shall be properly terminated, polished, and inspected to ensure compliance with optical and mechanical specifications.

- After assembly, each cable shall undergo a comprehensive testing process to verify insertion loss, return loss, and other key performance parameters.

- The finished product shall be labeled with relevant information (e.g., fiber type, wavelength range, part number - if not restricted, date of manufacture) for traceability.

## 6. Installation Manual

### 6.1 Pre-Installation Preparation

- Inspect the cable and connectors for any visible damage, contamination, or defects before installation.

- Verify that the installation environment meets the product's environmental specifications.

- Prepare the necessary tools and equipment, including cleaning tools for connectors, cable routing hardware, and testing instruments.

- Ensure that the mating interfaces (ports) are clean, dry, and free from debris.

### 6.2 Installation Steps

- Plan the cable routing path to avoid sharp bends, excessive tension, and exposure to harsh environmental conditions. Ensure compliance with the minimum bend radius requirements during routing.

- Clean the connectors of the trunk cable and the mating ports using approved cleaning methods and materials to remove dust, oil, or other contaminants.

- Align the connector key with the mating port keyway and insert the connector firmly until a positive click is heard, indicating a secure connection.

- Avoid applying excessive force during insertion or removal of connectors to prevent damage to the connector ferrule or mating port.

- Secure the cable in place using appropriate cable ties, clamps, or other routing hardware, ensuring that the cable is not subjected to unnecessary stress.

- After installation, perform a post-installation test to verify the optical performance of the cable, ensuring that insertion loss and return loss are within the specified limits.

### 6.3 Maintenance and Inspection

- Regularly inspect the cable and connectors for signs of damage, wear, or contamination.

- Clean the connectors periodically using approved cleaning procedures to maintain optimal performance.

- If any performance degradation or damage is detected, replace the cable or affected components promptly.

- Avoid exposing the cable to extreme temperatures, moisture, or physical abuse during operation and maintenance.