Technical Specification for MPO Adapter

## 1. Overview

This technical specification defines the performance requirements and related parameters of the MPO Adapter, applicable to its application and performance evaluation in optical communication systems.

## 2. Performance Indexes

### 2.1 Insertion Loss (F)

| Fiber Type | Wavelength | Connector Type | Insertion Loss |
| --- | --- | --- | --- |
| Single - mode | 1310/1550nm | APC | ≤0.8 dB |
| Single - mode | 1310/1550nm | PC | ≤0.7 dB |
| Multimode | 850/1300nm | APC | ≤0.8 dB |
| Multimode | 850/1300nm | PC | ≤0.7 dB |

### 2.2 Return Loss (RL)

For both single - mode (1310/1550nm) and multimode (850/1300nm) fibers, the return loss (RL) of the adapter (for both APC and PC connector types) shall be >50 dB.

### 2.3 Key Feature

The adapter is designed with low loss performance to meet the requirements of high - efficiency optical signal transmission.

## 3. Supplementary Notes

- This specification focuses on core technical performance parameters. For detailed information such as installation procedures, assembly requirements, and specific application scenarios, refer to the corresponding installation manual and application guidelines.

- All performance indexes are tested under standard optical communication test conditions.