Technical Specifications

## 1. Application Scope

- Applicable to the work area cabling subsystem, supporting the installation of multiple types of modules.

- Suitable for telecommunication networks, metropolitan area networks, and optical fiber communication systems.

- Compatible with optical fiber test instruments/meters.

- Applicable to optical fiber CATV and optical fiber sensors.

- Suitable for fiber broadband access networks and FTTH (Fiber to the Home) applications.

- Can be used as an optical fiber distribution frame, as well as rack-mounted and wall-mounted optical fiber distribution units.

## 2. Key Features

- Constructed with high-quality engineering plastic, ensuring excellent structural strength.

- Adopts a double-page design, facilitating installation and maintenance, with complete separation of fusion splicing and termination operations.

- Equipped with knock-out holes at the bottom, capable of accommodating up to four-core optical fibers.

- Supports SC adapter assembly.

- Available as an embedded surface-mounted box, featuring easy installation and disassembly, along with a protective door for dust prevention.

- Compatible with SC/LC simplex and duplex optical fibers, suitable for both exposed and flush-mounted panel installations in different environments.

- All modules adopt a welding-free connection mode.

- Module combinations can be selected and configured according to specific requirements.

## 3. Installation Notes

- The box is designed for convenient installation and disassembly, allowing for flexible deployment in various work area scenarios.

- Ensure proper alignment and connection of optical fibers when assembling modules to maintain signal integrity.

- Utilize the knock-out holes at the bottom for organized routing of optical fibers, avoiding damage or signal interference.

- Follow standard optical fiber installation practices to ensure reliable performance and long-term stability.